## Slide 1: timsTOF Visualization App Tutorial

## Slide 2: Getting Started

## Slide 3: Getting started in Visual Studio Code
Set the directory containing the app.py file as the working directory
Open the app.py file by double-clicking on the file

## Slide 4: Install necessary extensions
Install Python and Shiny extensions using the Extensions:Marketplace tab

## Slide 5: Set Python interpreter to current installation of Python/Anaconda
Ctrl+Shift+P and search Python interpreter
Select current Python installation

## Slide 6: Installing necessary Python libraries
Open a new powershell terminal and use pip to install
  alphatims, colorcet, faicons, hvplot, matplotlib-venn, scikit-learn, shiny, shinyswatch, and upsetplot
Replace the part underlined in red with the library to install

## Slide 7: Starting the Shiny app
With the extensions and libraries installed, you should be able to run the app with Visual Studio Code recognizing it as a Shiny app

## Slide 8: Using the App

## Slide 9: File import
Upload search report (.tsv)
Select search software

## Slide 10: Updating result metadata
R.Condition: (required)
Experimental condition names. If Condition was specified in Spectronaut, it will be added here. Otherwise, it needs to be filled out.
R.Replicate: (required)
Replicate numbers. Should be unique in each condition. . If Replicate was specified in Spectronaut, it will be added here. Otherwise, it needs to be filled out.
Order: (optional)
Specify the numerical order you want the runs shown in.
Remove: (optional)
Adding an ‘x’ means that you want to remove the run from the subsequent figures.
Concentration: (optional)
Should be the same value for each condition.
R.FileName: (required, autofilled)
Will be pre-filled from the report file.
If changes are made to the metadata table, use these switches to specify the change and then click the “apply changes” button
This is necessary when condition names are not native to the search report or if changes are needed for the order, presentation, or names of samples

## Slide 11: General Navigation
Main navigation pane organized by the types of information to be plotted
Sub-menu navigation organized by the different available plots that can be generated

## Slide 12: Coloring Options
Multiple color setting options for colors to be used in plotting
Can mix and match from those listed when using custom colors

## Slide 13: Coloring Options
Colors by condition according to the matplotlib tableau colors
Colors by condition according to a rainbow color series split based on the number of conditions
Colors by condition according to specified colors in the text area

## Slide 14: File Import Formats

## Slide 15: Uploading DIA windows to overlay
CSV Format:

## Slide 16: Uploading peptide list to track
CSV Format:

## Slide 17: Referencing raw data files
Paste the full path of the .d folder for each file you want to plot into the text area
Should look like the example text shown